| Class I, Divisions 1 & 2, Groups B, C & D Ignition Temperature Code T2A, 536⁰F (280⁰C) Use these heaters when ordering heaters without optional built-on controls |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| kW | Volts (1) | Phase | Total Amps | Unit Size | Catalog Number | Availability Code (3) |  | Optional Built-on Controls (see Factory Built-on Options for Pricing) |  |  |
|  |  |  |  |  |  |  |  | Controls Only | Thermostat Only (4) or Thermostat with Controls |  |
| 0.5 | 120 | 1 | 4.2 | 1 | HX-254-F0310052B | AS |  | N/A | 1024754 |  |
|  | 208 | 1 | 2.4 |  | HX-254-F0310052C |  |  | N/A | 1024754 |  |
|  | 240 | 1 | 2.1 |  | HX-254-F0310052J |  |  | N/A | 1024754 |  |
|  | 277 | 1 | 1.8 |  | HX-254-F0310052N |  |  | N/A | 1024754 |  |
| 1 | 120 | 1 | 8.3 | 1 | HX-254-F0310102B |  |  | N/A | 1024754 |  |
|  | 208 | 1 | 4.8 |  | HX-254-F0310102C |  |  | N/A | 1024754 |  |
|  | 240 | 1 | 4.2 |  | HX-254-F0310102J |  |  | N/A | 1024754 |  |
|  | 277 | 1 | 3.6 |  | HX-254-F0310102N |  |  | N/A | 1024754 |  |
| 1.8 | 120 | 1 | 15.0 | 2 | HX-254-F0320182B |  |  | N/R | S2 |  |
|  | 208 | 1 | 8.7 |  | HX-254-F0320182C |  |  | N/R | S2 |  |
|  | 240 | 1 | 7.5 |  | HX-254-F0320182J |  |  | N/R | S2 |  |
|  | 277 | 1 | 6.5 |  | HX-254-F0320182N |  |  | N/R | S2 |  |
|  | 347 | 1 | 5.2 |  | HX-254-F0320182I |  |  | B2 | B3 |  |
|  | 480 | 3 | 2.2 |  | HX-254-F0320182U |  |  | B2 | B3 |  |
|  | 600 | 3 | 1.8 |  | HX-254-F0320182Z |  |  | B2 | B3 |  |
| 2.5 | 208 | 1 | 12.0 | 2 | HX-254-F0320252C |  |  | N/R | S2 |  |
|  | 208 | 3 | 6.9 |  | HX-254-F0320252D |  |  | B2 | B3 |  |
|  | 240 | 1 | 10.4 |  | HX-254-F0320252J |  |  | N/R | S2 |  |
|  | 277 | 1 | 9.0 |  | HX-254-F0320252N |  |  | N/R | S2 |  |
|  | 347 | 1 | 7.2 |  | HX-254-F0320252I |  |  | B2 | B3 |  |
|  | 480 | 3 | 3.0 |  | HX-254-F0320252U |  |  | B2 | B3 |  |
|  | 600 | 3 | 2.4 |  | HX-254-F0320252Z |  |  | B2 | B3 |  |
| 3.6 | 208 | 1 | 17.3 | 3 | HX-254-F0330362C |  |  | N/R | S2 |  |
|  | 208 | 3 | 10.0 |  | HX-254-F0330362D |  |  | B2 | B3 |  |
|  | 240 | 1 | 15.0 |  | HX-254-F0330362J |  |  | N/R | S2 |  |
|  | 277 | 1 | 13.0 |  | HX-254-F0330362N |  |  | N/R | S2 |  |
|  | 347 | 1 | 10.4 |  | HX-254-F0330362I |  |  | B2 | B3 |  |
|  | 480 | 3 | 4.3 |  | HX-254-F0330362U |  |  | B2 | B3 |  |
|  | 600 | 3 | 3.5 |  | HX-254-F0330362Z |  |  | B2 | B3 |  |
| 4.4 | 208 | 3 | 12.2 | 3 | HX-254-F0330442D |  |  | B2 | B3 |  |
|  | 240 | 1 | 18.3 |  | HX-254-F0330442J |  |  | N/R | S2 |  |
|  | 277 | 1 | 15.9 |  | HX-254-F0330442N |  |  | N/R | S2 |  |
|  | 347 | 1 | 12.7 |  | HX-254-F0330442I |  |  | B2 | B3 |  |
|  | 480 | 3 | 5.3 |  | HX-254-F0330442U |  |  | B2 | B3 |  |
|  | 600 | 3 | 4.3 |  | HX-254-F0330442Z |  |  | B2 | B3 |  |
| 6.5 | 208 | 3 | 18.0 | 4 | HX-254-F0340652D | AS |  | B2 | B3 |  |
|  | 240 | 1 | 27.1 |  | HX-254-F0340652J |  |  | B2 | B3 |  |
|  | 277 | 1 | 23.5 |  | HX-254-F0340652N |  |  | B2 | B3 |  |
|  | 347 | 1 | 18.7 |  | HX-254-F0340652I |  |  | B2 | B3 |  |
|  | 480 | 3 | 7.8 |  | HX-254-F0340652U |  |  | B2 | B3 |  |
|  | 600 | 3 | 6.3 |  | HX-254-F0340652Z |  |  | B2 | B3 |  |
| 7.5 | 208 | 3 | 20.8 | 4 | HX-254-F0340752D |  |  | B2 | B3 |  |
|  | 240 | 1 | 31.3 |  | HX-254-F0340752J |  |  | B2 | B3 |  |
|  | 277 | 1 | 27.1 |  | HX-254-F0340752N |  |  | B2 | B3 |  |
|  | 347 | 1 | 21.6 |  | HX-254-F0340752I |  |  | B2 | B3 |  |
|  | 480 | 3 | 9.0 |  | HX-254-F0340752U |  |  | B2 | B3 |  |
|  | 600 | 3 | 7.2 |  | HX-254-F0340752Z |  |  | B2 | B3 |  |
| 9.5 | 208 | 3 | 26.4 | 4 | HX-254-F0340952D |  |  | B2 | B3 |  |
|  | 240 | 1 | 39.6 |  | HX-254-F0340952J |  |  | B2 | B3 |  |
|  | 277 | 1 | 34.3 |  | HX-254-F0340952N |  |  | B2 | B3 |  |
|  | 347 | 1 | 27.4 |  | HX-254-F0340952I |  |  | B2 | B3 |  |
|  | 480 | 3 | 11.4 |  | HX-254-F0340952U |  |  | B2 | B3 |  |
|  | 600 | 3 | 9.1 |  | HX-254-F0340952Z |  |  | B2 | B3 |  |

| Class I, Divisions 1 & 2, Groups C & D Ignition Temperature Code T2A, 536⁰F (280⁰C) |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| kW | Volts (1) | Phase | Total Amps | Unit Size | Catalog Number | Availability Code (3) |  | Optional Built-on Controls (see Factory Built-on Options for Pricing) |  |  |
|  |  |  |  |  |  |  |  | Controls Only | Thermostat Only (4) or Thermostat with Controls |  |
| 0.5 | 120 | 1 | 4.2 | 1 | HX-254-F0310053B | AS |  | N/A | 1007002 |  |
|  | 208 | 1 | 2.4 |  | HX-254-F0310053C |  |  | N/A | 1007002 |  |
|  | 240 | 1 | 2.1 |  | HX-254-F0310053J |  |  | N/A | 1007002 |  |
|  | 277 | 1 | 1.8 |  | HX-254-F0310053N |  |  | N/A | 1007002 |  |
| 1 | 120 | 1 | 8.3 | 1 | HX-254-F0310103B |  |  | N/A | 1007002 |  |
|  | 208 | 1 | 4.8 |  | HX-254-F0310103C |  |  | N/A | 1007002 |  |
|  | 240 | 1 | 4.2 |  | HX-254-F0310103J |  |  | N/A | 1007002 |  |
|  | 277 | 1 | 3.6 |  | HX-254-F0310103N |  |  | N/A | 1007002 |  |
| 1.8 | 120 | 1 | 15.0 | 2 | HX-254-F0320183B | AS |  | N/R | S1 |  |
|  | 208 | 1 | 8.7 |  | HX-254-F0320183C |  |  | N/R | S1 |  |
|  | 240 | 1 | 7.5 |  | HX-254-F0320183J |  |  | N/R | S1 |  |
|  | 277 | 1 | 6.5 |  | HX-254-F0320183N |  |  | N/R | S1 |  |
|  | 347 | 1 | 5.2 |  | HX-254-F0320183I |  |  | B2 | B2S1 |  |
|  | 480 | 3 | 2.2 |  | HX-254-F0320183U |  |  | B2 | B2S1 |  |
|  | 600 | 3 | 1.8 |  | HX-254-F0320183Z |  |  | B2 | B2S1 |  |
| 2.5 | 208 | 1 | 12.0 | 2 | HX-254-F0320253C |  |  | N/R | S1 |  |
|  | 208 | 3 | 6.9 |  | HX-254-F0320253D |  |  | B2 | B2S1 |  |
|  | 240 | 1 | 10.4 |  | HX-254-F0320253J |  |  | N/R | S1 |  |
|  | 277 | 1 | 9.0 |  | HX-254-F0320253N |  |  | N/R | S1 |  |
|  | 347 | 1 | 7.2 |  | HX-254-F0320253I |  |  | B2 | B2S1 |  |
|  | 480 | 3 | 3.0 |  | HX-254-F0320253U |  |  | B2 | B2S1 |  |
|  | 600 | 3 | 2.4 |  | HX-254-F0320253Z |  |  | B2 | B2S1 |  |
| 3.6 | 208 | 1 | 17.3 | 3 | HX-254-F0330363C |  |  | N/R | S1 |  |
|  | 208 | 3 | 10.0 |  | HX-254-F0330363D |  |  | B2 | B2S1 |  |
|  | 240 | 1 | 15.0 |  | HX-254-F0330363J |  |  | N/R | S1 |  |
|  | 277 | 1 | 13.0 |  | HX-254-F0330363N |  |  | N/R | S1 |  |
|  | 347 | 1 | 10.4 |  | HX-254-F0330363I |  |  | B3 | B3S1 |  |
|  | 480 | 3 | 4.3 |  | HX-254-F0330363U |  |  | B2 | B2S1 |  |
|  | 600 | 3 | 3.5 |  | HX-254-F0330363Z |  |  | B2 | B2S1 |  |
| 4.4 | 208 | 3 | 12.2 | 3 | HX-254-F0330443D |  |  | B2 | B2S1 |  |
|  | 240 | 1 | 18.3 |  | HX-254-F0330443J |  |  | N/R | S1 |  |
|  | 277 | 1 | 15.9 |  | HX-254-F0330443N |  |  | N/R | S1 |  |
|  | 347 | 1 | 12.7 |  | HX-254-F0330443I |  |  | B2 | B3S1 |  |
|  | 480 | 3 | 5.3 |  | HX-254-F0330443U |  |  | B2 | B2S1 |  |
|  | 600 | 3 | 4.3 |  | HX-254-F0330443Z |  |  | B2 | B2S1 |  |
| 6.5 | 208 | 3 | 18.0 | 4 | HX-254-F0340653D |  |  | B2 | B2S1 |  |
|  | 240 | 1 | 27.1 |  | HX-254-F0340653J |  |  | B2 | B2S1 |  |
|  | 277 | 1 | 23.5 |  | HX-254-F0340653N |  |  | B2 | B2S1 |  |
|  | 347 | 1 | 18.7 |  | HX-254-F0340653I |  |  | B2 | B2S1 |  |
|  | 480 | 3 | 7.8 |  | HX-254-F0340653U |  |  | B2 | B2S1 |  |
|  | 600 | 3 | 6.3 |  | HX-254-F0340653Z |  |  | B2 | B2S1 |  |
| 7.5 | 208 | 3 | 20.8 | 4 | HX-254-F0340753D | AS |  | B2 | B2S1 |  |
|  | 240 | 1 | 31.3 |  | HX-254-F0340753J |  |  | B2 | B2S1 |  |
|  | 277 | 1 | 27.1 |  | HX-254-F0340753N |  |  | B2 | B2S1 |  |
|  | 347 | 1 | 21.6 |  | HX-254-F0340753I |  |  | B2 | B2S1 |  |
|  | 480 | 3 | 9.0 |  | HX-254-F0340753U |  |  | B2 | B2S1 |  |
|  | 600 | 3 | 7.2 |  | HX-254-F0340753Z |  |  | B2 | B2S1 |  |
| 9.5 | 208 | 3 | 26.4 | 4 | HX-254-F0340953D |  |  | B2 | B2S1 |  |
|  | 240 | 1 | 39.6 |  | HX-254-F0340953J |  |  | B2 | B2S1 |  |
|  | 277 | 1 | 34.3 |  | HX-254-F0340953N |  |  | B2 | B2S1 |  |
|  | 347 | 1 | 27.4 |  | HX-254-F0340953I |  |  | B2 | B2S1 |  |
|  | 480 | 3 | 11.4 |  | HX-254-F0340953U |  |  | B2 | B2S1 |  |
|  | 600 | 3 | 9.1 |  | HX-254-F0340953Z |  |  | B2 | B2S1 |  |

| Class I, Divisions 1 & 2, Groups B, C & D Ignition Temperature Code T3A, 356⁰F (180⁰C) Use these heaters when ordering heaters without optional built-on controls |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| kW | Volts (1) | Phase | Total Amps | Unit Size | Catalog Number | Availability Code (3) |  | Optional Built-on Controls (see Factory Built-on Options for Pricing) |  |  |
|  |  |  |  |  |  |  |  | Controls Only | Thermostat Only (4) or Thermostat with Controls |  |
| 0.5 | 120 | 1 | 4.2 | 1 | HX-254-F0610052B | AS |  | N/A | 1024754 |  |
|  | 208 | 1 | 2.4 |  | HX-254-F0610052C |  |  | N/A | 1024754 |  |
|  | 240 | 1 | 2.1 |  | HX-254-F0610052J |  |  | N/A | 1024754 |  |
|  | 277 | 1 | 1.8 |  | HX-254-F0610052N |  |  | N/A | 1024754 |  |
| 1.4 | 120 | 1 | 11.7 | 2 | HX-254-F0620142B |  |  | N/R | S2 |  |
|  | 208 | 1 | 6.7 |  | HX-254-F0620142C |  |  | N/R | S2 |  |
|  | 240 | 1 | 5.8 |  | HX-254-F0620142J |  |  | N/R | S2 |  |
|  | 277 | 1 | 5.1 |  | HX-254-F0620142N |  |  | N/R | S2 |  |
|  | 347 | 1 | 4.0 |  | HX-254-F0620142I |  |  | B2 | B3 |  |
| 2.3 | 120 | 1 | 19.2 | 3 | HX-254-F0630232B | AS |  | N/R | S2 |  |
|  | 208 | 1 | 11.1 |  | HX-254-F0630232C |  |  | N/R | S2 |  |
|  | 208 | 3 | 6.4 |  | HX-254-F0630232D |  |  | B2 | B3 |  |
|  | 240 | 1 | 9.6 |  | HX-254-F0630232J |  |  | N/R | S2 |  |
|  | 277 | 1 | 8.3 |  | HX-254-F0630232N |  |  | N/R | S2 |  |
|  | 347 | 1 | 6.6 |  | HX-254-F0630232I |  |  | B2 | B3 |  |
|  | 480 | 3 | 2.8 |  | HX-254-F0630232U |  |  | B2 | B3 |  |
|  | 600 | 3 | 2.2 |  | HX-254-F0630232Z |  |  | B2 | B3 |  |
| 3.2 | 208 | 1 | 15.4 | 4 | HX-254-F0640322C |  |  | N/R | S2 |  |
|  | 208 | 3 | 8.9 |  | HX-254-F0640322D |  |  | B2 | B3 |  |
|  | 240 | 1 | 13.3 |  | HX-254-F0640322J |  |  | N/R | S2 |  |
|  | 277 | 1 | 11.6 |  | HX-254-F0640322N |  |  | N/R | S2 |  |
|  | 347 | 1 | 9.2 |  | HX-254-F0640322I |  |  | B2 | B3 |  |
|  | 480 | 3 | 3.8 |  | HX-254-F0640322U |  |  | B2 | B3 |  |
|  | 600 | 3 | 3.1 |  | HX-254-F0640322Z |  |  | B2 | B3 |  |
| 5.0 | 208 | 3 | 13.9 | 4 | HX-254-F0640502D |  |  | B2 | B3 |  |
|  | 240 | 1 | 20.8 |  | HX-254-F0640502J |  |  | N/R | S2 |  |
|  | 277 | 1 | 18.1 |  | HX-254-F0640502N |  |  | N/R | S2 |  |
|  | 347 | 1 | 14.4 |  | HX-254-F0640502I |  |  | B2 | B3 |  |
|  | 480 | 3 | 6.0 |  | HX-254-F0640502U |  |  | B2 | B3 |  |
|  | 600 | 3 | 4.8 |  | HX-254-F0640502Z |  |  | B2 | B3 |  |

| Class I, Divisions 1 & 2, Groups C & D Ignition Temperature Code T3A, 356⁰F (180⁰C) |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| kW | Volts (1) | Phase | Total Amps | Unit Size | Catalog Number | Availability Code (3) |  | Optional Built-on Controls (see Factory Built-on Options for Pricing) |  |  |
|  |  |  |  |  |  |  |  | Controls Only | Thermostat Only (4) or Thermostat with Controls |  |
| 0.5 | 120 | 1 | 4.2 | 1 | HX-254-F0610053B | AS |  | N/A | 1007002 |  |
|  | 208 | 1 | 2.4 |  | HX-254-F0610053C |  |  | N/A | 1007002 |  |
|  | 240 | 1 | 2.1 |  | HX-254-F0610053J |  |  | N/A | 1007002 |  |
|  | 277 | 1 | 1.8 |  | HX-254-F0610053N |  |  | N/A | 1007002 |  |
| 1.4 | 120 | 1 | 11.7 | 2 | HX-254-F0620143B |  |  | N/R | S1 |  |
|  | 208 | 1 | 6.7 |  | HX-254-F0620143C |  |  | N/R | S1 |  |
|  | 240 | 1 | 5.8 |  | HX-254-F0620143J |  |  | N/R | S1 |  |
|  | 277 | 1 | 5.1 |  | HX-254-F0620143N |  |  | N/R | S1 |  |
|  | 347 | 1 | 4.0 |  | HX-254-F0620143I |  |  | B2 | B2S1 |  |
| 2.3 | 120 | 1 | 19.2 | 3 | HX-254-F0630233B |  |  | N/R | S1 |  |
|  | 208 | 1 | 11.1 |  | HX-254-F0630233C |  |  | N/R | S1 |  |
|  | 208 | 3 | 6.4 |  | HX-254-F0630233D |  |  | B2 | B2S1 |  |
|  | 240 | 1 | 9.6 |  | HX-254-F0630233J |  |  | N/R | S1 |  |
|  | 277 | 1 | 8.3 |  | HX-254-F0630233N |  |  | N/R | S1 |  |
|  | 347 | 1 | 6.6 |  | HX-254-F0630233I |  |  | B2 | B2S1 |  |
|  | 480 | 3 | 2.8 |  | HX-254-F0630233U |  |  | B2 | B2S1 |  |
|  | 600 | 3 | 2.2 |  | HX-254-F0630233Z |  |  | B2 | B2S1 |  |
| 3.2 | 208 | 1 | 15.4 | 4 | HX-254-F0640323C |  |  | N/R | S1 |  |
|  | 208 | 3 | 8.9 |  | HX-254-F0640323D |  |  | B2 | B2S1 |  |
|  | 240 | 1 | 13.3 |  | HX-254-F0640323J |  |  | N/R | S1 |  |
|  | 277 | 1 | 11.6 |  | HX-254-F0640323N |  |  | N/R | S1 |  |
|  | 347 | 1 | 9.2 |  | HX-254-F0640323I |  |  | B2 | B2S1 |  |
|  | 480 | 3 | 3.8 |  | HX-254-F0640323U |  |  | B2 | B2S1 |  |
|  | 600 | 3 | 3.1 |  | HX-254-F0640323Z |  |  | B2 | B2S1 |  |
| 5.0 | 208 | 3 | 13.9 | 4 | HX-254-F0640503D |  |  | B2 | B2S1 |  |
|  | 240 | 1 | 20.8 |  | HX-254-F0640503J |  |  | N/R | S1 |  |
|  | 277 | 1 | 18.1 |  | HX-254-F0640503N |  |  | N/R | S1 |  |
|  | 347 | 1 | 14.4 |  | HX-254-F0640503I |  |  | B2 | B2S1 |  |
|  | 480 | 3 | 6 |  | HX-254-F0640503U |  |  | B2 | B2S1 |  |
|  | 600 | 3 | 4.8 |  | HX-254-F0640503Z |  |  | B2 | B2S1 |  |

| Class II, Divisions 1 & 2, Groups E, F & G Ignition Temperature Code T3C, 320⁰F (160⁰C) |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| kW | Volts (1) | Phase | Total Amps | Unit Size | Catalog Number | Availability Code (3) |  | Optional Built-on Controls (see Factory Built-on Options for Pricing) |  |  |
|  |  |  |  |  |  |  |  | Controls Only | Thermostat Only (4) or Thermostat with Controls |  |
| 0.5 | 120 | 1 | 4.2 | 1 | HX-254-F0810054B | AS |  | N/A | 1007002 |  |
|  | 208 | 1 | 2.4 |  | HX-254-F0810054C |  |  | N/A | 1007002 |  |
|  | 240 | 1 | 2.1 |  | HX-254-F0810054J |  |  | N/A | 1007002 |  |
|  | 277 | 1 | 1.8 |  | HX-254-F0810054N |  |  | N/A | 1007002 |  |
| 1.0 | 120 | 1 | 8.3 | 2 | HX-254-F0820104B |  |  | N/R | S1 |  |
|  | 208 | 1 | 4.8 |  | HX-254-F0820104C |  |  | N/R | S1 |  |
|  | 240 | 1 | 4.2 |  | HX-254-F0820104J |  |  | N/R | S1 |  |
|  | 277 | 1 | 3.6 |  | HX-254-F0820104N |  |  | N/R | S1 |  |
|  | 347 | 1 | 2.9 |  | HX-254-F0820104I |  |  | B2 | B2S1 |  |
| 1.7 | 120 | 1 | 14.2 | 3 | HX-254-F0830174B |  |  | N/R | S1 |  |
|  | 208 | 1 | 8.2 |  | HX-254-F0830174C |  |  | N/R | S1 |  |
|  | 208 | 3 | 4.7 |  | HX-254-F0830174D |  |  | B2 | B2S1 |  |
|  | 240 | 1 | 7.1 |  | HX-254-F0830174J |  |  | N/R | S1 |  |
|  | 277 | 1 | 6.1 |  | HX-254-F0830174N |  |  | N/R | S1 |  |
|  | 347 | 1 | 4.9 |  | HX-254-F0830174I |  |  | B2 | B2S1 |  |
|  | 480 | 3 | 2 |  | HX-254-F0830174U |  |  | B2 | B2S1 |  |
|  | 600 | 3 | 1.6 |  | HX-254-F0830174Z |  |  | B2 | B2S1 |  |
| 3.2 | 208 | 1 | 15.4 | 4 | HX-254-F0840324C |  |  | N/R | S1 |  |
|  | 208 | 3 | 8.9 |  | HX-254-F0840324D |  |  | B2 | B2S1 |  |
|  | 240 | 1 | 13.3 |  | HX-254-F0840324J |  |  | N/R | S1 |  |
|  | 277 | 1 | 11.6 |  | HX-254-F0840324N |  |  | N/R | S1 |  |
|  | 347 | 1 | 9.2 |  | HX-254-F0840324I |  |  | B2 | B2S1 |  |
|  | 480 | 3 | 3.8 |  | HX-254-F0840324U |  |  | B2 | B2S1 |  |
|  | 600 | 3 | 3.1 |  | HX-254-F0840324Z |  |  | B2 | B2S1 |  |

(1)  Convectors are 60/50 Hz rated

(2) Price includes wall mounting brackets

(3) AS = Assembly Stock, AS listed heaters ordered with custom (C) features are subject to longer lead times.

(4) Thermostat only is load carrying or remote.

Factory Built-in Options

| Code | Option | Description |  |  |  |  | Availability Code |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B2 | Electric Control Option (1) (without thermostat) | Classes I and II, Groups B, C, D, E, F & G includes contactor and transformer (as required). Required for all three-phase and single-phase heaters over 22 amps or 277 volts. |  |  |  |  | AS |  |
| B2S1 | Thermostat & Controls (1) | Classes I & II, Groups C, D, E, F, G includes thermostat, contactor and transformer (as required). |  |  |  |  | AS |  |
| B3 | Thermostat & Controls (Group B) (1) | Classes I & II Groups, B, C, D, E, F, G includes thermostat, contactor and transformer (as required). Thermostat has internal set point. |  |  |  |  | AS |  |
| C1 | Wet Locations |  |  |  |  | Size | C |  |
|  |  | NEMA 3 rated heater construction not available with S1, B2-S1 & S2 thermostat options. |  |  |  | 1 |  |  |
|  |  |  |  |  |  | 2 |  |  |
|  |  |  |  |  |  | 3 |  |  |
|  |  |  |  |  |  | 4 |  |  |
| S1 | Thermostat Only (1) | Classes I & II, Groups C, D, E, F, G single-phase heaters rated up to 22 amps at 120-277 volts. Use remote room thermostat Cat. 1007002 for size 1 convectors. |  |  |  |  | AS |  |
| S2 | Thermostat Only (Group B)(1) | Classes I & II Groups B, C, D, E, F, G single-phase heaters rated up to 22 amps at 120-277 volts. Thermostat has internal set point. Use remote room thermostat catalog number 1007022 for size 1 convectors. |  |  |  |  | AS |  |

(1) These options are not available on Size 1 convectors.

Dimensions and Weights

| Unit Sizes | Dimensions – In. (cm) |  |  | Weight – Lb (kg) |
| --- | --- | --- | --- | --- |
|  | Length (L) | Height (H) | Depth (D) | Without Controls |
| 1 | 26 (66) | 6 (15) | 4-1/2 (11) | 13 (5.9) |
| 2 | 26 (66) | 16 (41) | 8 (20) | 27 (12.2) |
| 3 | 39 (99) | 16 (41) | 8 (20) | 36 (16.3) |
| 4 | 67 (171) | 16 (41) | 8 (20) | 60 (27.2) |

Option: B2/S1